
	General Questions for the Entire Wastewater System

	Security Vulnerability Self-Assessment for Small Wastewater Systems



	The first 15 questions in this vulnerability self-assessment are general questions designed to apply to all components of your wastewater treatment and collection system (collection system, wastewater discharge points, treatment plant, pumps, and offices).  These are followed by more specific questions that look at individual system components in greater detail. 

	QUESTION
	ANSWER
	COMMENT
	ACTION NEEDED/TAKEN

	1.    Do you have a written emergency response plan (ERP)?
	Yes      No 
	An emergency response plan is vital in case there is an incident that requires immediate response.  Your plan should be reviewed at least annually (or more frequently if necessary) to ensure it is up-to-date and addresses security emergencies including ready access to laboratories capable of analyzing wastewater samples.  You should coordinate with your local emergency planning committee (LEPC).  As a first step in developing your ERP, you should develop your Emergency Contact List (see attachment 2)

You should designate someone to be contacted in case of emergency regardless of the day of the week or time of day.  This contact information should be kept up-to-date and made available to all wastewater system personnel and local officials (if applicable). 

Share this ERP with police, emergency personnel, and your state primacy agency.  Posting contact information is a good idea only if authorized personnel are the only ones seeing the information.  These signs could pose a security risk if posted for public viewing since it gives people information that could be used against the system.  By completing this software in its entirety, this software will generate an emergency response plan for your use.  You should check with your State Primacy Agency and State Rural Development Office to ensure you meet any specific requirements that they may need.
	

	2.
Is access to the critical components of the wastewater system (i.e., a part of the physical infrastructure of the system that is essential for collecting and/or treating wastewater) restricted to authorized personnel only?
	Yes
     No 
	You should restrict or limit access to the critical components of your wastewater system to authorized personnel only. This is the first step in security enhancement for your wastewater system. Consider the following:

 Issue wastewater system photo identification cards for employees, and require them to be displayed within the restricted area at all times.

 Post signs restricting entry to authorized personnel and ensure that assigned staff escorts people without proper ID.
	


	QUESTION
	ANSWER
	COMMENT
	ACTION NEEDED/TAKEN

	3.   Are all critical facilities fenced, including lift stations and storm sewer outfalls, and are gates locked where appropriate?
	Yes      No 
	Ideally, all facilities should have a security fence around the perimeter.  Disabled lift stations can create many problems in the wastewater system.  Secure access points and control panels at lift stations with tamper-resistant locks.  Structures can be protected from collision with concrete ballards or jersey barriers.  Lift stations can be alarmed and should be tested regularly.  Storm sewer outfalls may also provide access to the collection system.  When appropriate access to storm-sewer outfalls should be restricted without interrupting the flow.

The fence perimeter should be walked periodically to check for breaches and maintenance needs.  All gates should be locked with chains and a tamper-proof padlock that at a minimum protects the shank.  Other barriers such as concrete "jersey" barriers should be considered to guard certain critical components from accidental or intentional vehicle intrusion.
	

	4.
 Are all critical doors, windows, and other points of entry such as process tank hatches, vents and fill pipes kept closed and locked?
	Yes      No 
	Lock all building doors and windows, hatches vents, fill pipes, gates, and other points of entry to prevent access by unauthorized personnel.  Consider securing fill pipes to prevent contamination of chemicals or fuel (especially fuel for back-up generators) Check locks regularly.  Dead bolt locks and lock guards provide a high level of security for the cost.  

A daily check of critical system components enhances security and ensures that an unauthorized entry has not taken place.

Doors and hinges to critical facilities should be constructed of heavy-duty reinforced material. Hinges on all outside doors should be located on the inside.  
To limit access to wastewater systems, all windows should be locked and reinforced with wire mesh or iron bars, and bolted on the inside. Systems should ensure that this type of security meets with the requirements of any fire codes. Alarms can also be installed on windows, doors, and other points of entry.
	

	5.
Are vents and overflow pipes properly protected with screens and/or grates?
	Yes      No 
	Air vents and overflow pipes are direct conduits to the finished wastewater in storage facilities. Secure all vents and overflow pipes with heavy-duty screens and/or grates.
	

	6.    Is there external lighting around all critical components of your wastewater system?
	Yes      No 
	Adequate lighting of the exterior of wastewater systems’ critical components is a good deterrent to unauthorized access and may result in the detection or deterrence of trespassers.  Motion detectors that activate switches that turn lights on or trigger alarms also enhance security.
	

	7.     Are warning signs (tampering, unauthorized access, etc.) posted on all critical components of your wastewater system? (For example, lift stations and pump houses.)
	Yes      No 
	Warning signs are an effective means to deter unauthorized access.   

“Warning - Tampering with this facility is prohibited” should be posted on all wastewater facilities.  

“Authorized Personnel Only,” “Unauthorized Access Prohibited,” and “Employees Only” are examples of other signs that may be useful.
	

	QUESTION
	ANSWER
	COMMENT
	ACTION NEEDED/TAKEN

	8.    Do you patrol and inspect all buildings, outfalls, lift stations and critical manholes?
	Yes      No 
	Frequent and random patrolling of the wastewater system by utility staff may discourage potential tampering. It may also help identify problems that may have arisen since the previous patrol.  

All systems are encouraged to initiate personal contact with the local law enforcement to show them the waste water facility.  The tour should include the identification of all critical components with an explanation of why they are important.  Systems are encouraged to review, with local law enforcement, the NRWA/ASDWA Guide for Security Decisions or similar state document to clarify respective roles and responsibilities in the event of an incident.  Also consider asking the local law enforcement to conduct periodic patrols of your wastewater system.
	


	9.    Is the area around all the critical components of your wastewater system free of objects that may be used for breaking and entering?
	Yes      No 
	When assessing the area around your wastewater system’s critical components, look for objects that could be used to gain entry (e.g., large rocks, cement blocks, pieces of wood, ladders, valve keys, and other tools).
	

	10. Are the entry points to all of your wastewater system easily seen?
	Yes      No 
	You should clear fence lines of all vegetation.  Overhanging or nearby trees may also provide easy access.  Avoid landscaping that will permit trespassers to hide or conduct unnoticed suspicious activities. 

Trim trees and shrubs to enhance the visibility of your wastewater system’s critical components.

If possible, park vehicles and equipment in places where they do not block the view of your wastewater system’s critical components.
	

	11.  Do you have an alarm system that will detect unauthorized entry or attempted entry at all critical components?
	Yes      No 
	Consider installing an alarm system that notifies the proper authorities or your wastewater system’s designated contact for emergencies when there has been a breach of security. Inexpensive systems are available. An alarm system should be considered whenever possible for tanks, pump houses, and treatment facilities.

You should also have an audible alarm at the site as a deterrent and to notify neighbors of a potential threat.
	

	12.  Do you have a key control and accountability policy?
	Yes      No 
	Keep a record of locks and associated keys, and to whom the keys have been assigned. This record will facilitate lock replacement and key management (e.g., after employee turnover or loss of keys).  Vehicle and building keys should be kept in a lockbox when not in use. 

You should have all keys stamped (engraved) “DO NOT DUPLICATE.”
	


	QUESTION
	ANSWER
	COMMENT
	ACTION NEEDED/TAKEN

	13.
Are entry codes and keys limited to wastewater system personnel only?
	Yes      No 
	Suppliers and personnel from co-located organizations (e.g., organizations using your facility for other purposes or contractors who perform routine maintenance) should be denied access to codes and/or keys.  Codes should be changed frequently if possible.  Entry into any building should always be under the direct control of wastewater system personnel.
	

	14.  Do you have an updated operations and maintenance manual that includes evaluations of security systems? 
	Yes      No 
	Operation and maintenance plans are critical in assuring the on-going provision of safe and reliable wastewater service.  These plans should be updated to incorporate security considerations and the on-going reliability of security provisions – including security procedures and security related equipment.
	

	15.  Do you have a neighborhood watch program for your wastewater system?
	Yes      No 
	Watchful neighbors can be very helpful to a security program. Make sure they know whom to call in the event of an emergency or suspicious activity.


	

	Wastewater Collection System
In addition to the above general checklist for your entire wastewater system (questions 1-15), you should give special attention to the following issue,  related to various wastewater system components.  Ask the public to be vigilant and report suspicious activity.

	QUESTION
	ANSWER
	COMMENT
	ACTION NEEDED/TAKEN

	16.
Are your critical manholes sealed and secured?
	Yes      No 
	Manholes that provide access to pipes that can be easily traversed or access to critical customers should be a priority for security.  A properly sealed manhole decreases the opportunity for the introduction of contaminants. Critical manholes that provide access to pipes large enough to easily maneuver through will prevent unauthorized personnel from placing explosives or other incendineiaryt decvises under buildings or other highly populated areas.  Other points of entry that provide access to critical customers such as schools, industry, hospitals or prisons should also be secured.  Continuous service to these critical customers is essential to prevent serious health problems in the community.  Tamper resistant bolts other methods may be used to secure manhole covers to rims.  Contact your State Rural Development Office or State Rural Water Association for more information or technical assistance. 
	

	17.    Are tributary collection systems from neighboring entities secure?
	Yes      No 
	Coordinate with other jurisdictions whose collection systems connect with your system.  Vulnerabilities in neighboring systems can be vulnerabilities in your system.
	


	Treatment Plant and Suppliers

Some small systems provide easy access to their wastewater system for suppliers of equipment, chemicals, and other materials for the convenience of both parties. This practice should be discontinued.

	QUESTION
	ANSWER
	COMMENT
	ACTION NEEDED/TAKEN

	18.    Are deliveries of chemicals and other supplies made in the presence of wastewater system personnel?
	Yes      No 
	Establish a policy that an authorized person, designated by the wastewater system, must accompany all deliveries. Verify the credentials of all drivers. This prevents unauthorized personnel from having access to the wastewater system.
	

	19.    Have you discussed with your supplier(s) procedures to ensure the security of their products?
	Yes      No 
	Verify that your suppliers take precautions to ensure that their products are not contaminated. Chain of custody procedures for delivery of chemicals should be reviewed. You should inspect chemicals and other supplies at the time of delivery to verify they are sealed and in unopened containers. Match all delivered goods with purchase orders to ensure that they were, in fact, ordered by your wastewater system.

You should keep a log or journal of deliveries. It should include the driver’s name (taken from the driver’s photo I.D.), date, time, material delivered, and the supplier’s name.
	

	20.    Are chemicals, particularly those that are potentially hazardous (e.g. chlorine gas) or flammable, properly stored in a secure area?
	Yes      No 
	All chemicals should be stored in an area designated for their storage only, and the area should be secure and access to the area restricted.  Access to chemical storage should be available only to authorized employees.  Pay special attention to the storage, handling, and security of chlorine gas because of its potential hazard.  Facilities that are required to do risk management plans should review the plans and procedures within that document.

You should have tools and equipment on site (such as a fire extinguisher, drysweep, etc.) to take immediate actions when responding to an emergency.
	

	21.    Do you have a procedure to control septage dumps?
	Yes      No 
	Septage haulers should only be allowed to dump when regular personnel are on duty.  Septage should be sampled and tested for compatibility.  Record all septage dumps including: amount, sample results, company/hauler, date, time, and location of dump.
	

	22.    Do you monitor raw and treated wastewater so that you can detect changes in wastewater quality?
	Yes      No 
	Monitoring of raw and treated water can establish a baseline that may allow you to know if there has been a contamination incident.

Some parameters for raw wastewater include pH, DO, COD, BOD and conductivity.  These parameters can help identify and can be indicators of excessive organic loading or toxic compounds that may be introduced to the system.  Any changes or abnormal observations of the influents color and odor may also be an indication of potential contamination.

Routine parameters for treated wastewater include biological oxygen demand (BOD), total chlorine residual, heterotrophic plate count (HPC), total and fecal coliform, pH, and specific conductivity.

Chlorine demand patterns can help you identify potential problems with your treated wastewater.  A sudden change in demand may be a good indicator of contamination in your system.
	


	QUESTION
	ANSWER
	COMMENT
	ACTION NEEDED/TAKEN

	23.
Are tank ladders, access hatches, and entry points secured?
	Yes      No 
	The use of tamper-proof padlocks at entry points (hatches, vents, and ladder enclosures) will reduce the potential for of unauthorized entry.
	

	Personnel

You should add security procedures to your personnel policies.

	QUESTION
	ANSWER
	COMMENT
	ACTION NEEDED/TAKEN

	24.
When hiring personnel, do you request that local police perform a criminal background check, and do you verify employment eligibility (as required by the Immigration and Naturalization Service, Form I-9)? 
	Yes      No 
	It is good practice to have all job candidates fill out an employment application. You should verify professional references. Background checks conducted during the hiring process may prevent potential employee-related security issues. 
If you use contract personnel, check on the personnel practices of all providers to ensure that their hiring practices are consistent with good security practices.
	

	25.
Are your personnel issued photo-identification cards?
	Yes      No 
	For positive identification, all personnel should be issued wastewater system photo-identification cards and be required to display them at all times.

Photo identification will also facilitate identification of authorized wastewater system personnel in the event of an emergency.
	

	   26.     When terminating employment, do you require employees to turn in photo IDs, keys, access codes, and other security-related items? 
	Yes      No 
	Former or disgruntled employees have knowledge about the operation of your wastewater system, and could have both the intent and physical capability to harm your system.  Requiring employees who will no longer be working at your wastewater system to turn in their IDs, keys, and access codes helps limit these types of security breaches.
	

	27.
Do you use uniforms and vehicles with your wastewater system name prominently displayed?
	Yes      No 
	Requiring personnel to wear uniforms, and requiring that all vehicles prominently display the wastewater system name, helps inform the public when wastewater system staff is working on the system. Any observed activity by personnel without uniforms should be regarded as suspicious. The public should be encouraged to report suspicious activity to law enforcement authorities.
	

	28.
Have wastewater system personnel been advised to report security vulnerability concerns and to report suspicious activity? 
	Yes      No 
	Your personnel should be trained and knowledgeable about security issues at your facility, what to look for, and how to report any suspicious events or activity.

Periodic meetings of authorized personnel should be held to discuss security issues.
	


	QUESTION
	ANSWER
	COMMENT
	ACTION NEEDED/TAKEN

	29.
Do your personnel have a checklist to use for threats or suspicious calls or to report suspicious activity?
	Yes      No 
	To properly document suspicious or threatening phone calls or reports of suspicious activity, a simple checklist can be used to record and report all pertinent information.  Calls should be reported immediately to appropriate law enforcement officials.  Checklists should be available at every telephone.  Sample checklists are included in Attachment 3.  

Also consider installing caller ID on your telephone system to keep a record of incoming calls.
	

	Information/Storage/Computers/Controls/Maps

Security of the system, including computerized controls like a Supervisory Control and Data Acquisition (SCADA) system, goes beyond the physical aspects of operation.  It also includes records and critical information that could be used by someone planning to disrupt or contaminate your wastewater system.

	QUESTION
	ANSWER
	COMMENT
	ACTION NEEDED/TAKEN

	30.
Is computer access “password protected? 
	Yes      No 
	All computer access should be password protected. Passwords should be changed every 90 days and (as needed) following employee turnover. When possible, each individual should have a unique password that they do not share with others. 
	

	31.  Is virus protection installed and software upgraded regularly?
	Yes      No 
	Consider contacting a virus protection company and subscribing to a virus update program to protect your records.  Update virus protection on a regular basis (daily, weekly and in some circumstances monthly)
	

	32.  Dou you have a plan to back up your computer?
	Yes      No 
	Backing up computers regularly will help prevent the loss of data in the event that your computer is damaged or breaks.  Backup copies of computer data should be made routinely and stored at a secure off-site location.
	

	33.  Do you have Internet firewall software installed on your computer?
	Yes      No 
	If you have Internet access, a firewall protection program should be installed on your side of the computer and reviewed and updated periodically.  If you have a SCADA system, consider operating it on systems without internet access.  (NOTE:  Firewall protection software usually does not protect modem connections.  If a modem must be used, use software that will disable the local network connection when the modem is not in use.
	

	34.  If you have a SCADA system, has it been evaluated for weaknesses and hardened?
	Yes      No 
	SCADA can be vulnerable to potential intruders.  The most direct approach to evaluate vulnerabilities is penetration testing.  Penetration testing can detect vulnerability and se3curity breached that could be used to attack and penetrate the entire SCADA system.  Hardening is the process of making the system less vulnerable through equipment upgrades, redundancy of components, etc.
	

	35.  Can Employees by-pass SCADA and run system manually?
	Yes      No 
	It is important to be able to completely override your SCADA and manually operate your system.  Employees should be trained how to by-pass or shut down the SCADA and the procedures to manually operate the system in the event of an emergency.
	


	QUESTION
	ANSWER
	COMMENT
	ACTION NEEDED/TAKEN

	36.
Is there information on the Web that can be used to disrupt your system or contaminate your wastewater?
	Yes      No 
	Posting detailed information about your wastewater system on a Web site may make the system more vulnerable to attack. Web sites should be examined to determine whether they contain critical information that should be removed.

You should do a Web search (using a search engine such as Google, Yahoo!, or Lycos) using key words related to your wastewater supply to find any published data on the Web that is easily accessible by someone who may want to damage your wastewater supply.
	

	37.
 Are maps, records, and other information stored in a secure location?
	Yes      No 
	Records, maps, and other information should be stored in a secure location when not in use. Access should be limited to authorize personnel only.

You should make back-up copies of all data and sensitive documents. These should be stored in a secure off-site location on a regular basis.
	

	38.
 Are copies of records, maps, and other sensitive information labeled confidential, and are all copies controlled and returned to the wastewater system?
	Yes      No 
	Sensitive documents (e.g., schematics, maps, and plans and specifications) distributed for construction projects or other uses should be recorded and recovered after use. You should discuss measures to safeguard your documents with bidders for new projects.
	

	39.
Are vehicles locked and secured at all times?
	Yes      No 
	Vehicles are essential to any wastewater system. They typically contain maps and other information about the operation of the wastewater system. Wastewater system personnel should exercise caution to ensure that this information is secure. 

Wastewater system vehicles should be locked when they are not in use or left unattended.

Remove any critical information about the system before parking vehicles for the night.

Vehicles also usually contain tools (e.g., valve wrenches) and keys that could be used to access critical components of your wastewater system.  These should be secured and accounted for daily.
	


	Public Relations

You should educate your customers about your system. You should encourage them to be alert and to report any suspicious activity to law enforcement authorities.

	QUESTION
	ANSWER
	COMMENT
	ACTION NEEDED/TAKEN

	40.  Do you have a program to educate and encourage the public to be vigilant and report suspicious activity to assist in the security protection of your wastewater system?
	Yes      No 
	Advise your customers and the public that your system has increased preventive security measures to protect the wastewater supply from vandalism. Ask for their help. Provide customers with your telephone number and the telephone number of the local law enforcement authority so that they can report suspicious activities. The telephone number can be made available through direct mail, billing inserts, notices on community bulletin boards, flyers, and consumer confidence reports.
	

	41.  Does your wastewater system have a procedure to deal with public information requests, and to restrict distribution of sensitive information?
	Yes      No 
	You should have a procedure for personnel to follow when you receive an inquiry about the wastewater system or its operation from the press, customers, or the general public.    

Your personnel should be advised not to speak to the media on behalf of the wastewater system. Only one person should be designated as the spokesperson for the wastewater system. Only that person should respond to media inquiries. You should establish a process for responding to inquiries from your customers and the general public.
	

	42.  Do you have a procedure in place to receive notification of a suspected outbreak of a disease immediately after discovery by local health agencies?
	Yes      No 

	It is critical to be able to receive information about suspected problems with the wastewater at any time and respond to them quickly.  Written procedures should be developed in advance with your state wastewater primacy agency, local health agencies, and your local emergency planning committee and reviewed periodically.  
	

	43.  Do you have a procedure in place to advise the community of contamination immediately after discovery?
	Yes      No 
	As soon as possible after a disease outbreak (possibly from recreational swimming or consumption from a contaminated water body), you should notify testing personnel and your laboratory of the incident.  In outbreaks caused by microbial contaminants, it is critical to discover the type of contaminant and its method of transport (dermal contact, food, etc.).  Active testing of your wastewater supply will enable your laboratory, working in conjunction with public health officials, to determine if there are any unique (and possibly lethal) disease organisms in your wastewater.

It is critical to be able to get the word out to your customers or others using the source water that your plant is discharging effluent too as soon as possible after discovering a health hazard in your wastewater supply.  Drinking water systems or other food/beverage manufactures using the same source of water downstream from your wastewater system should be contacted immediately.  Some simple methods include announcements via radio or television, door-to-door notification, a phone tree, and posting notices in public places.  
	


Now that you have completed the “Security Vulnerability Self-Assessment Guide for Small Wastewater Systems,” review your needed actions and then prioritize them based on the most likely threats.  A Table to assist you in prioritizing actions is provided in Attachment 1.

Record of Completion

Please fill in the following information so that a record can be maintained of wastewater systems who have completed a vulnerability assessment.

	NPDES Permit SEQ CHAPTER \h \r 1 No:
	
	
	

	System Name:
	
	
	

	Address:
	
	
	

	Town/City:
	
	State:
	

	ZIP Code:
	
	
	

	Phone:
	
	Fax:
	

	Email:
	
	
	

	Person Name:
	
	
	

	Title:
	
	
	

	Address:
	
	
	

	Town/City:
	
	State:
	

	ZIP Code:
	
	
	

	Phone:
	
	Fax:
	

	Email:
	
	
	



         24 Hour Emergency Contact Information for Your System:

	Contact Person:
	First Name:
	
	Last Name:
	

	Daytime Phone:
	
	Fax:
	

	Emergency Phone:
	
	E-mail:
	

	Cell Phone:
	
	


The information in this vulnerability assessment has been completed to the best of my knowledge.

Signed____________________________________________________
Date_______________________







22
12

