_____________________________

CROSS-CONNECTION CONTROL SURVEY

The following form is to be used by water department personnel and/or by customers of the ___________________

public water supply.  Data from this form may be used to determine if the property should be inspected by a licensed plumber with a CCCDI certification to detect and correct any cross-connections found on the property.

Date survey conducted:_________________________

Name/Title of person conducting survey:_______________________________

Name of water user:____________________________________Address:__________________________________

Phone number:_______________________________

Residential: (Check all that apply)

Kitchen:      Sink Faucet_____       Sink Faucet w/Sprayer_____       Ice Maker_____       Garbage Disposal_____

Other:__________________     Other___________________     Other____________________

Comments:____________________________________________________________________________________

Bath:           Lavatory_____       Toilet_____       Bathtub_____       Hot Tub_____       Bidet_____

Other:___________________     Other:__________________     Other:____________________

Comments:____________________________________________________________________________________

Other:     Boiler heat_____       How Many Boilers?_____

Exterior:     Outside faucets_____       How Many?_____       Non-Freezing Type:_____       How Many?_____

Lawn Irrigation System (Portable)_____       Lawn Irrigation System (Permanent)_____

Lawn Fertilizer System_____       Portable High-Pressure Washer_____        Private Wells(s)_____

Is/Are private well(s) physically connected to the water system?   Yes_____       No_____

Other:________________________________________________________________________________________

Other:________________________________________________________________________________________

Other:________________________________________________________________________________________

Comments:____________________________________________________________________________________

_____________________________________________________________________________________________

(Please complete other side, if applicable.)

Commercial: (Check all that apply)

Lavatory:_____       How Many?_____                                   Deep Sinks_____     How Many?_____

Boilers_____     How Many?_____                                         Outside Faucets_____       How Many?_____

Outside Faucets

Non-Freezing Type)_____     How Many?_____                    High Pressure Washers_____       How Many?_____

Lawn Irrigation Systems (Portable)_____     How Many?_____

Lawn Irrigation Systems (Permanent)_____     How Many?_____

Lawn Fertilizer Systems_____

Mixing Tanks w/Overhead Fill Lines_____       How Many?_____

Mixing Tanks w/Bottom Fill Lines_____ How Many?_____

Watering troughs_____       How Many?_____

Bulk Water Salesman_____       How Many?_____

Water-Cooled Air Conditioning System_____       How Many?_____

Sitz Baths_____       How Many?_____

Fire Protection Systems:_____

Embalming Facilities (Mortuaries)_____       How Many?_____

Private Well(s)_____       How Many?_____

Is/Are private well(s) physically connected to the water system?   Yes_____       No_____

Other:________________________      Other:_________________________       Other:______________________

Other:________________________      Other:_________________________       Other:______________________

Comments:____________________________________________________________________________________

_____________________________________________________________________________________________

(FOR WATER DEPARTMENT USE ONLY)

After reviewing the data on this form it is my recommendation that:

_____The plumbing system serving the above-described property should be inspected for cross-connections by a

a properly certified plumber/CCCDI inspector.

_____The plumbing system serving the above-described property does not pose a threat to the public safety and

no inspection is ordered.

Dated this __________day of _____________________, _______________.

Signature/Title of Person Making Above Determination:________________________________________________